| Premise Risk Assessment for: Name of Site/Building |  |  |  | Location/Address: |  |
| --- | --- | --- | --- | --- | --- |
| Assessment Date: |  | Name of Assessor(s): |  |  | Assessment Ref No: 001 |

| Severity: |  |
| --- | --- |
| 1 | No Lost time |
| 2 | Under 7-day injury or illness |
| 3 | Over 7-day injury or illness (RIDDOR) |
| 4 | Specified injury or illness (RIDDOR) |
| 5 | Fatality, disabling injury or illness |

| Likelihood |  |
| --- | --- |
| 1 | Very unlikely |
| 2 | Unlikely |
| 3 | Likely |
| 4 | Very likely |
| 5 | Certain |

Risk Matrix scoring guide:

| High (15-25) | These risks are unacceptable; significant improvements in risk control are required. The activity should be halted with immediate effect until risk controls are identified/implemented that reduce the risk to an acceptable level |
| --- | --- |
| Medium (5-12) | Additional control measures should be identified and implemented to reduce the risks associated with the activity or workplace so far as reasonably practicable |
| Low (1-4) | Minimal control measures are required to be implemented to satisfy the level of risk. Maintain current arrangements for risk control |

| Hazard | Who might be harmed and how? | CONTROL MEASURES (existing workplace precautions/risk control systems in place) | What further action is required? | By Who and When? | Residual Risk rating |  |  | Date completed |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | L | S | R |  |
| This model risk assessments MUST be made Premise/site specific by editing and/or deleting any part(s) or bullet points that do not apply, and by adding any additional risks/hazards/controls specific to the Premise/site that’s being assessed. Please delete this row once you have adapted this model assessment prior to adopting and sharing with the Premise users. |  |  |  |  |  |  |  |  |
| Access | Employees based within premise, visitors and contractors. Risk of entrapment, falls and danger to life or limb. | - Ensure entrances, exits, alarm systems and facilities are accessible for all users of the site and are compliant with current legislation. | - Access audit to be completed by specialist access officer. |  |  |  |  |  |
| Asbestos | Employees based at Premise, visitors and contractors. Respiratory illnesses and cancers. | - Asbestos survey to be carried out and maintained - All contractors & employees to be made aware of location of or presumed location of asbestos prior to carrying out any works. - Ensure all known asbestos is clearly labelled as such. | - Regular monitoring checks of the integrity of all asbestos to be made and recorded by the PM - Report any changes or deterioration to the specialist contractor for immediate response |  |  |  |  |  |
| Automatic Doors, windows, gates and barriers | Employees based at Premise, visitors and contractors, Impact, crushing, shearing, entrapment, cuts and hooking. | - Regular checks and maintenance schedules in place. - Operating instruction for use are clear. - Warning signs/ notices used where necessary | - Report any issues to contractor for repair maintenance - Workplace inspection checks doors, gates are in good working order - Glazing risk assessment completed by competent persons and kept up to date. |  |  |  |  |  |
| Contractors and visitors | Employees based at Premise, visitors and contractors, Assault, Property damage or theft. | - All visitors to the building are given safety information on arrival - All entrances & exits are regularly checked for security - Control mechanisms and systems are maintained and in good working order - All visitors are announced and supervised - All contractors are inducted to site | - Security notices to be used to advise users of door controls in use. i.e. Keep locked/Shut - ID/ access badges are issued corporately, and should be renewed upon expiry |  |  |  |  |  |
| Drinking Water | Employees based at premise, Dehydration | - Water fountains are used where no free running water is available - Suitable cups are provided for use |  |  |  |  |  |  |
| Electricity & Gas | Employees based at Premise, visitors and contractors. Burns, electrocution and Fire | - Visual checks carried out prior to use, no worn cables, loose wiring etc. - Combined inspection and testing to be carried out on all portable electrical appliances in use. - Fixed appliance testing to be carried out 5 yearly - Gas installations visually checked before use | - Portable appliance registers and schedule of testing to be maintained on site - Regular maintenance and inspection carried out by competent persons |  |  |  |  |  |
| Fire | Employees based at Premise, visitors and contractors, Smoke Inhalation, burns through to death | - Fire Risk assessment completed, reviewed annually or upon changes to building and or operations. - Fire log book maintained by PM and Specialist technical officers - Smoking is prohibited on site, suitable mechanism for disposing of cigarette ends is considered where appropriate - Emergency plans are completed and kept up to date | - Annual and refresher Fire Safety training for PM and designated deputy - Fire Marshals identified and trained. - Designated smoking area - Fire action cards to be maintained and displayed in prominent areas |  |  |  |  |  |
| First Aid – lack of appropriate provision | Employees based at Premise, visitors and contractors, Danger to health, safety and welfare. | - A first aid needs assessment is completed for all users of the premise considering all activities undertaken on the site. - A current list of first aiders and their location/ contact details are shared with building users - First aid provisions are regularly checked and replenished when required | - All first aiders are trained, and certification is maintained |  |  |  |  |  |
| Facilities for rest and to eat meals | Employees based at premise Work related stress, fatigue, cross contamination, allergic reactions | - Rest areas are identified and sufficient for the numbers of employees. - Cleaning schedules are in place and maintained - Management are aware of employees with any allergies |  |  |  |  |  |  |
| Grounds Maintenance | Employees based at Premise, visitors and contractors. Cuts, bruises through to broken bones | - Good housekeeping carried out to ensure pathways are clear from obstruction - PM carries out regular walkabout of the grounds to ensure all pavements, walkways, driveways are safe and secure - When inclement weather is forecast, PM will ensure grit is provided and laid along designated pathways | - Corporate Gritting plan in place - Notices, e.g., ramp or steps posted. - Trees are assessed periodically by competent persons to determine an appropriate management plan |  |  |  |  |  |
| Hirers/ leasing of rooms & building | All persons unfamiliar with safety procedures and precautions for the building. Danger to health, safety and welfare. | - Hirer agreement form / procedure in place to advise of safety advice and guidance. - All people hiring facilities will be inducted | - PM considers changes to current practice/ procedure for out of hours hire of rooms |  |  |  |  |  |
| Legionella and water safety | Employees based at Premise, visitors and contractors. Pneumonia/ Legionella. | - Water risk assessment to be completed by competent specialist - Regular flushes of little used outlets are completed and recorded | - Water management plan to be developed and maintained by specialist contractor - Thermostat valves to be fitted and used on all water outlets to ensure appropriate safe temperatures are maintained |  |  |  |  |  |
| Plant and Equipment | Employees based at Premise, visitors and contractors. Danger to health, safety and welfare. | - All plant and equipment in use must have a specific risk assessment for safe use, storage, cleaning and maintenance | - Regular testing, servicing and inspections to be carried out by PM - Working at height training for those who regularly use ladders/steps - Manual handling of objects training is provided for all employees |  |  |  |  |  |
| People & Vehicles |  | - Separate routes to be clearly marked for pedestrians where possible - Routes to be kept unobstructed - Warning notices in place | - Assessment to be made of the speed, volume and direction of vehicles, where this may put pedestrians at Risk further controls are necessary i.e. banks person to be used |  |  |  |  |  |
| Temperature (indoors) | Employees based at Premise, visitors and contractors. Spread of infections due to poor heating and ventilation in work areas | - Regular check that heating/cooling is adequate for the tasks to be carried out. | - Thermostatic Valves to be used to allow better control of the heating - Extraction & air conditioning systems are used and regularly maintained |  |  |  |  |  |
| Workplace and Welfare Facilities | Employees based at Premise, visitors and contractors. Cross infection/ contamination. Chemical injuries and burns Sexual exploitation, misappropriation | - Regular checks that toilets are kept clean and hygienic. - Hot/cold water, soap/hand drying available. - Men’s separate to Women’s/ gender neutral single occupancy - Adequate ventilation. - Sanitary towel provision and disposal available and working. | - Contract and waste transfer note in place and monitored for sanitary disposal - Cleaning and maintenance schedules in place - Regular walkabout checks by PM - Register of all chemicals used/ stored maintained on site - Chemicals are used and stored in accordance with COSHH assessment findings - High risk materials are only used if necessary and before or after general working hours to reduce the risk of exposure |  |  |  |  |  |
| Workspace | Employees based at Premise, visitors and contractors, Impact injuries, slips, trips and falls | - Good housekeeping is practiced throughout the office - All spillages are cleaned up immediately and yellow cone used to warn others of wet floor areas. - Cleaning is carried out outside of office core hours when occupation is minimal where possible - The use of extension leads / reels are kept to minimum - All cables are secreted beneath desks and adjacent to walls and not trailing across traffic routes. - Sufficient space is available for the work to be carried out - Walls are clear from protruding objects - Lighting levels are adequate for the task | - 11 cubic meters of space is required per person - Workplace inspections carried out by Premise Manager (PM) at regular intervals - Assess rite assessments are completed where necessary |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |

| Assessment reviewed [Date]: | Reviewed by [Name]: | Comments: |
| --- | --- | --- |