| Risk Assessment for: Powered gates |  |  |  | Location: |  |
| --- | --- | --- | --- | --- | --- |
| Assessment Date: |  | Name of Assessor(s): |  |  | Assessment Ref No: |

| Severity: |  |
| --- | --- |
| 1 | No Lost time |
| 2 | Under 7-day injury or illness |
| 3 | Over 7-day injury or illness (RIDDOR) |
| 4 | Specified injury or illness (RIDDOR) |
| 5 | Fatality, disabling injury or illness |

| Likelihood |  |
| --- | --- |
| 1 | Very unlikely |
| 2 | Unlikely |
| 3 | Likely |
| 4 | Very likely |
| 5 | Certain |

Risk Matrix scoring guide:

| High (15-25) | These risks are unacceptable; significant improvements in risk control are required. The activity should be halted with immediate effect until risk controls are identified/implemented that reduce the risk to an acceptable level |
| --- | --- |
| Medium (5-12) | Additional control measures should be identified and implemented to reduce the risks associated with the activity or workplace so far as reasonably practicable |
| Low (1-4) | Minimal control measures are required to be implemented to satisfy the level of risk. Maintain current arrangements for risk control |

| Hazard | Who might be harmed and how? | CONTROL MEASURES (existing workplace precautions/risk control systems in place) | What further action is required? | By Who and When? | Residual Risk rating |  |  | Date completed |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | L | S | R |  |
| Model risk assessment MUST be made school specific by editing/deleting any part that does not apply and adding additional risks/hazards/controls specific to the section where appropriate. Please delete this row once you have adapted this model assessment |  |  |  |  |  |  |  |  |
| Impact from / being struck by powered gate | Staff, Pupil, Visitors near the gate when opening / closing Bruises, lacerations, broken bones, damage to vehicles etc | - Barriers in place to prevent persons entering zone where the gates are in operation - Light beam sensor on vehicle gate stops and reverses gate if obstruction detected in danger zone - Limited forces when meeting a person or obstacle that do not exceed BS EN 12453:2017 recommendations - Motor control stops and reverses gate on contact with obstruction - Sensitive protective equipment (e.g. pressure sensitive strips, safety sensor flooring, light barriers, infra-red detectors) fitted. E.g. Pressure Sensitive Protective Equipment (PSPE) or Electro-Sensitive Protective Equipment (ESPE) - There are no sharp areas. - Any sharp areas are covered / guarded | Regular maintenance and servicing of gates by competent contractor Daily checks by site manager/caretaker |  |  |  |  |  |
| Shearing or entrapment from moving parts | As above | - Sensitive Plates fitted to prevent full closure - Enclosed/guarded motor drives - Finger/hand trap guards fitted between gate and post | Regular servicing & maintenance by a competent contractor Daily checks by site manager/caretaker |  |  |  |  |  |
| Cuts, hooking hazards | As above | - There are no sharp areas. - Any sharp areas are covered / guarded - Pressure Sensitive Protective Equipment (PSPE) or Electro-Sensitive Protective Equipment (ESPE) is fitted | As above |  |  |  |  |  |
| Electricity supply | As above Shock, electrocution | - Gates are fitted with RCD/Fuse/earthed to prevent surges and metal parts becoming live. | Regular servicing & maintenance by a competent contractor. |  |  |  |  |  |
| Safety measures fail or are overcome leading to accident | As above | - Manual override system is known by key members of staff who supervise at busy times (e.g. arrival and end of school day) - First aid provision available on site - Ambulance contacted for any serious injuries beyond a first aider | Gates isolated until competent contractor gives okay to bring back into use. |  |  |  |  |  |

| Assessment reviewed [Date]: | Reviewed by [Name]: | Comments: |
| --- | --- | --- |